## BSL-1
A | ABSL- 1 Standard Microbiological Practices | YES | NO | NA | Comments
A 1 | The animal facility director establishes and enforces policies, procedures, and protocols for institutional policies and emergencies.
A1a | Each institute must assure that worker safety and health concerns are addressed as part of the animal protocol review.
A1b | Prior to beginning a study animal protocols must also be reviewed and approved by the Institutional Animal Care and Use Committee (IACUC) and the Institutional Biosafety Committee.
A 2 | A safety manual specific to the animal facility is prepared or adopted in consultation with the animal facility director and appropriate safety professionals. The safety manual must be available and accessible. Personnel are advised of potential hazards and are required to read and follow instructions on practices and procedures.
A 3 | The supervisor must ensure that animal care, laboratory and support personnel receive appropriate training regarding their duties, animal husbandry procedures, potential hazards, manipulations of infectious agents, necessary precautions to prevent exposures, and hazard/ exposure evaluation procedures (physical hazards, splashes, aerosolization, etc.). Personnel must receive annual updates and additional training when procedures or policies change. Records are maintained for all hazard evaluations, employee training sessions and staff attendance.
A 4 | An appropriate medical surveillance program is in place, as determined by risk assessment. The need for an animal allergy prevention program should be considered.
A 4a | Facility supervisors should ensure that medical staff is informed of potential occupational hazards within the animal facility, to include those associated with research, animal husbandry duties, animal care and manipulations.
A 4b | Personal health status may impact an individual’s susceptibility to infection, ability to receive immunizations or prophylactic interventions. Therefore, all personnel and particularly women of childbearing age should be provided information regarding immune competence and conditions that may predispose them to infection. Individuals having these conditions should be encouraged to self-identify to the institution’s healthcare provider for appropriate counseling and guidance.
A 4c | Personnel using respirators must be enrolled in an appropriately constituted respiratory protection program.
A | ABSL- 1 Standard Microbiological Practices | YES | NO | NA | Comments
A 5 | A sign incorporating safety information must be posted at the entrance to the areas where infectious materials and/or animals are housed or are manipulated. The sign must include the animal biosafety level, general occupational health requirements, personal protective equipment requirements, the supervisor’s name (or other responsible personnel), telephone number, and required procedures for entering and exiting the animal areas. Identification of specific infectious agents is recommended when more than one agent is being used within an animal room. Security-sensitive agent information should be posted in accordance with the institutional policy.
A6 | Access to the animal room is limited. Only those persons required for program or support purposes are authorized to enter the facility.
A7 | Protective laboratory coats, gowns, or uniforms are recommended to prevent contamination of personal clothing
A8 | Eating, drinking, smoking, handling contact lenses, applying cosmetics, and storing food for human consumption must not be permitted in laboratory areas. Food must be stored outside of the laboratory in cabinets or refrigerators designed and used for this purpose.
A9 | All procedures are carefully performed to minimize the creation of aerosols or splatters of infectious materials and waste.
A10 | Mouth pipetting is prohibited. Mechanical pipetting devices must be used.
A11 | Policies for the safe handling of sharps, such as needles, scalpels, pipettes, and broken glassware must be developed and implemented.
A11a | Use of needles and syringes or other sharp instruments in the animal facility is limited to situations where there is no alternative for such procedures as parenteral injection, blood collection, or aspiration of fluids from laboratory animals and diaphragm bottles.
A11b | Disposable needles must not be bent, sheared, broken, recapped, removed from disposable syringes, or otherwise manipulated by hand before disposal. Used disposable needles must be carefully placed in puncture-resistant containers used for sharps disposal. Sharps containers should be located as close to the work site as possible.
A11c | Non-disposable sharps must be placed in a hard-walled container for transport to a processing area for decontamination, preferably by autoclaving.
A11d | Broken glassware must not be handled directly. Instead, it must be removed using a brush and dustpan, tongs, or forceps. Plastic ware should be substituted for glassware whenever possible.
A11e | Equipment containing sharp edges and corners should be avoided.
A | ABSL- 1 Standard Microbiological Practices | YES | NO | NA | Comments
A12 | Equipment and work surfaces are routinely decontaminated with an appropriate disinfectant after work with an infectious agent, and after any spills, splashes, or other overt contamination.
A13 | Animals and plants not associated with the work being performed must not be permitted in the areas where infectious materials and/ or animals are housed or are manipulated.
A14 | An effective integrated pest management program is required. (See Appendix G.)
A15 | All wastes from the animal room (including animal tissues, carcasses, and bedding) are transported from the animal room in leak-proof, covered containers for appropriate disposal in compliance with applicable institutional, local and state requirements. Decontaminate all potentially infectious materials before disposal using an effective method.
B | ABSL- 1 Special Practices |  |  |  | No special Practices for BSL-1
C | ABSL-1 Safety Equipment (Primary Barriers and Personal Protective Equipment) | YES | NO | NA | Comments
C 1 | A risk assessment should determine the appropriate type of personal protective equipment to be utilized.
C 2 | Special containment devices or equipment may not be required as determined by appropriate risk assessment.
C3 | Protective laboratory coats, gowns, smocks, or uniforms designated for laboratory use must be worn while working with hazardous materials. Remove protective clothing before leaving for non-laboratory areas (e.g., cafeteria, library, administrative offices)> Dispose of protective clothing appropriately, or deposit it for laundering by the institution. It is recommended that laboratory clothing not be taken home.
C4 | Eye and face protection (goggles, mask, face shield or other splatter guard) is used for anticipated splashes or sprays of infectious or other hazardous materials when the microorganisms must be handled outside the BSC or containment device. Eye and face protection must be disposed of with other contaminated laboratory waste or decontaminated before reuse. Persons who wear contact lenses in laboratories should also wear eye protection.
C5 | Gloves must be worn to protect hands from exposure to hazardous materials. Glove selection should be based on an appropriate risk assessment. Alternatives to latex gloves should be available. Gloves must not be worn outside the laboratory. In addition, BSL-2 laboratory workers should:
C 5 a | Change gloves when contaminated, integrity has been compromised, or when otherwise necessary. Wear two pairs of gloves when appropriate.
C 5 b | Remove gloves and wash hands when work with hazardous materials has been completed and before leaving the laboratory.
C 5 c | Do not wash or reuse disposable gloves. Dispose of used gloves with other contaminated laboratory waste. Hand washing protocols must be rigorously followed.
C6 | Persons must wash their hands after handling animals and before leaving the areas where infectious materials and/or animals are housed or are manipulated. Hand washing should occur after the removal of gloves.
D | ABSL- 1 Laboratory Facilities (Secondary Barriers) | YES | NO | NA | Comments
D 1 | Laboratries should have doors for access control.
D1a | The animal facility is separated from areas that are open to unrestricted personnel traffic within the building.
D1b | Access to the animal facility is restricted.
D1c | Laboratory doors should be self-closing and have locks in accordance with the institutional policies.
D1d | Doors to areas where infectious materials and/or animals are housed, open inward, are self-closing, are kept closed when experimental animals are present, and should never be propped open. Doors to cubicles inside an animal room may open outward or slide horizontally or vertically.
D 2 | Laboratories must have a sink for hand washing.
D2a | The sink may be manually, hands-free, or automatically operated. It should be located near the exit door.
D2b | Sink traps are filled with water, and/or appropriate liquid to prevent the migration of vermin and gases.
D 3 | The laboratory should be designed so that it can be easily cleaned and decontaminated.
D 3a | Carpets and rugs in laboratories are not permitted.
D3b | The interior surfaces (walls, floors and ceilings) are water resistant.
D3c | Floors must be slip resistant, impervious to liquids, and resistant to chemicals.
D 4 | Spaces between benches, cabinets, and equipment should be accessible for cleaning.
D 4 a | Bench tops must be impervious to water and resistant to heat, organic solvents, acids, alkalis, and other chemicals.
D 4 b | Chairs used in laboratory work must be covered with a non-porous material that can be easily cleaned and decontaminated with appropriate disinfectant.
D 5 | Laboratory windows that open to the exterior are not recommended. However, if a laboratory does have windows that open to the exterior, they must be fitted with screens. Laboratory windows that open to the exterior are not recommended. However, if a laboratory does have windows that open to the exterior, they must be fitted with screens.
D6 | Ventilation should be provided in accordance with the Guide for Care and Use of Laboratory Animals. No recirculation of exhaust air may occur. It is recommended that animal rooms have inward directional airflow. Ventilation system design should consider the heat and high moisture load produced during the cleaning of animal rooms and the cage wash process.
D | ABSL- 1 Laboratory Facilities (Secondary Barriers) | YES | NO | NA | Comments
D7 | Internal facility appurtenances, such as light fixtures, air ducts, and utility pipes, are arranged to minimize horizontal surface areas to facilitate cleaning and minimize the accumulation of debris or fomites.
D8 | If floor drains are provided, the traps are filled with water, and/or appropriate disinfectant to prevent the migration of vermin and gases.
D9 | Cages are washed manually or preferably in a mechanical cage washer. The mechanical cage washer should have a final rinse temperature of at least 180°F. If manual cage washing is utilized, ensure that appropriate disinfectants are selected.
D10 | Illumination is adequate for all activities, avoiding reflections and glare that could impede vision.
D11 | Emergency eyewash and shower are readily available; location is determined by risk assessment.